Lista napędów DC - 2006

www.sprint-electric.com

- Data – Product manuals – Technical help – Drive glossary – FAQ – Brochures – Images – Data – Product manuals

DOC# HB102953 Iss 11 E&OE

Strona 2

zawartość

Jedno fazowy 1Q Nie izolowany DC regulator	Strona 3

Jedno fazowy 1Q Izolowany DC regulator	Strona 4

Jedno fazowy 4Q Ze zwrotem energii DC regulator	Strona 6

Regulator for niskonapięciowy motors 24/48Vdc	Strona 8

PL Trójfazowy 2Q Cyfrowy DC regulator	Strona 9

PLX Trójfazowy 4Q Cyfrowy DC regulator	Strona 12

PL/PLX Options & Accessories	Strona 15

PLA Applications module	Strona 15

PLXD stack driver	Strona 15

SLE Trójfazowy 2Q Analogowy DC regulator	Strona 15

SL Trójfazowy 2Q Analogowy DC regulator	Strona 16

SLX Trójfazowy 4Q Analogowy DC regulator	Strona 18

Niskonapięciowy Regulator	Strona 20

Drive Enclosures 0.37Kw – 11Kw	Strona 21

Cyfrowy Panel Meters	Strona 21

Ancillary products	Strona 21

Buffer Card Reversing unit Winder card

Frequency to Voltage converter Setpoint potentiometer kit Dynamic Brake assembly

Visit www.sprint-electric.com for further information or product technical manual for full specification.

Strona 3

Jedno fazowy 1Q DC Regulator - Nie izolowany

340	0.55KW 3.4A 240/110Vac 1Q Nie izolowany

Controller	Part # 340

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00620A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

680	0.75KW 6.8A 240/110Vac 1Q Nie izolowany

Controller	Part # 680

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00620A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

1220	1.8KW 12.2A 240/110Vac 1Q Nie izolowany

Controller	Part # 1220

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00620A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

300	0.37KW 3A 240/110Vac 1Q Nie izolowany

Controller	Part # 300

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00608A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Filter (if required)	Part # FRLN16

370	0.55KW 3.7A 240/110Vac 1Q Nie izolowany

Controller	Part # 370

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00608A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

400	0.55KW 4A 240/110Vac 1Q Nie izolowany

Controller	Part # 400

30/60V AC supply input option

Semiconductor  Fuse 6 x 32	Part # CH00608A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

Please refer to catalogue for further information or product technical manual for full specification.

Strona 4

Filter (if required)	Part # FRLN16

800	1.1KW 8A 240/110Vac 1Q Nie izolowany

Controller	Part # 800

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00612A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

1200	1.8KW 12A 240/110Vac 1Q Nie izolowany

Controller	Part # 1200

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00620A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

KW ratings shown are at highest supply voltage.

Jedno fazowy 1Q DC Regulator - Izolowany

340i	0.55KW 3.4A 240/110Vac 1Q Izolowany

Controller	Part # 340i

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00620A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

680i	0.75KW 6.8A 240/110Vac 1Q Izolowany

Controller	Part # 680i

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00620A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

1220i	1.8KW 12.2A 240/110Vac 1Q Izolowany

Controller	Part # 1220i

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00620A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

Visit www.sprint-electric.com for further information or product technical manual for full specification.

Strona 5

400i	0.55KW 4A 240/110Vac 1Q Izolowany

Controller	Part # 400i

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00608A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

E400i	0.55KW 4A 240/110Vac 1Q Izolowany

Controller	Part # E400i

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00608A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

1600i	2.2KW 16A 240/110Vac 1Q Izolowany

Controller	Part # 1600i

30/60V AC supply input option

Semiconductor Fuse 14 x 51	Part # CH00730A Fuseholder 14 x 51	Part # CP102053

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

3200i/8	2.2KW 8A 415/240Vac 1Q Izolowany

Controller	Part # 3200i/8

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00612A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (240V operation, if required)	Part # FRLN16

Filter (415V operation, if required)	Part # FRLL16

Note. Two fuses & holders etc. required for 415V Line to Line operation.

3200i/16	4KW 16A 415/240Vac 1Q Izolowany

Controller	Part # 3200i/16

30/60V AC supply input option

Semiconductor Fuse 14 x 51	Part # CH00730A Fuseholder 14 x 51	Part # CP102053

Pot kit incl graduated dial & knob	Part # POTKIT Filter (240V operation, if required)	Part # FRLN16

Filter (415V operation, if required)	Part # FRLL16

Note. Two fuses & holders required for 415V Line to Line operation.

3200i/32	7.5KW 32A 415/240Vac 1Q Izolowany

Controller	Part # 3200i/32

30/60V AC supply input option

Semiconductor Fuse Size OOO	Part # CH00850A Fuseholder Size OOO	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLL36

Please refer to catalogue for further information or product technical manual for full specification.

Strona 6

Note. Two fuses & holders required for 415V Line to Line operation.

3200i/48	11KW 48A 415/240Vac 1Q Izolowany

Controller	Part # 3200i/48

30/60V AC supply input option

Semiconductor Fuse Size OOO	Part # CH00880A Fuseholder Size OOO	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLL50

Note. Two fuses & holders required for 415V Line to Line operation.

Jedno fazowy 4Q DC Regulator - Izolowany, Ze zwrotem energii

340XRi	0.55KW 3.4A 240/110Vac 4Q Regen Izolowany

Controller	Part # 340XRi

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00620A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

680XRi	0.75KW 6.8A 240/110Vac 4Q Regen Izolowany

Controller	Part # 680XRi

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00620A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

1220XRi	1.8KW 12.2A 240/110Vac 4Q Regen Izolowany

Controller	Part # 1220XRi

30/60V AC supply input option

Semiconductor Fuse 6 x 32	Part # CH00620A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT Filter (if required)	Part # FRLN16

Visit www.sprint-electric.com for further information or product technical manual for full specification.

Strona 7

3600XRi/4	0.55KW 4A 240/110Vac 4Q Izolowany

Controller	Part # 3600XRi/4/LN

30/60V AC supply input option

Filter	Part # FRLN16

Semiconductor Fuse 6 x 32	Part # CH00608A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

3600XRi/8	1.1KW 8A 240/110Vac 4Q Izolowany

Controller	Part # 3600XRi/8/LN

30/60V AC supply input option

Filter	Part # FRLN16

Semiconductor Fuse 6 x 32	Part # CH00620A Fuseholder 6 x 32	Part # CP102071

DIN Rail Clip for fuseholder	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

3600XRi/16  2.2KW 16A 240/110Vac 4Q Izolowany

Controller	Part # 3600XRi/16/LN

30/60V AC supply input option

Filter	Part # FRLN16

Semiconductor Fuse 14 x 51	Part # CH00730A Fuseholder 14 x 51	Part # CP102053

Pot kit incl graduated dial & knob	Part # POTKIT

3600XRi/16  4KW 16A 415/240Vac 4Q Izolowany

Controller	Part # 3600XRi/16/LL

30/60V AC supply input option

Filter	Part # FRLL16

Semiconductor Fuse 14 x 51	Part # CH00730A Fuseholder 14 x 51	Part # CP102053

Pot kit incl graduated dial & knob	Part # POTKIT

Note. Two fuses & holders required for 415V Line to Line operation.

3600XRi/32  7.5KW 32A 415/240Vac 4Q Izolowany

Controller	Part # 3600XRi/32/LL

30/60V AC supply input option

Filter	Part # FRLL36

Semiconductor Fuse Size OOO	Part # CH00850A Fuseholder Size OOO	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT

Note. Two fuses & holders required for 415V Line to Line operation.

3600XRi/36  9.5KW 36A 415/240Vac 4Q Izolowany

Controller	Part # 3600XRi/36/LL

30/60V AC supply input option

Filter	Part # FRLL36

Semiconductor Fuse Size OOO	Part # CH00850A Fuseholder Size OOO	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT

Note. Two fuses & holders required for 415V Line to Line operation.

KW ratings shown are at high supply voltage.

Please refer to catalogue for further information or product technical manual for full specification.

Strona 8

Niskonapięciowy 24/48 Vdc

Niskonapięciowy versions of all single-phase models. Suitable for 30/60V

ac input voltages; these regulator are ideal for motors with armature voltages of 24/48v d.c.

340 LV60	3.4 Amps nie izolowany

680 LV60	6.8 Amps nie izolowany

1220 LV60	12.2 Amps nie izolowany

340i LV60	3.4 Amps Izolowany

680i LV60	6.8 Amps Izolowany

1220i LV60	12.2 Amps Izolowany

340XRi LV60	3.4 Amps Izolowany 4Q Regen

680XRi LV60	6.8 Amps Izolowany 4Q Regen

1220XRi LV60	12.2 Amps Izolowany 4Q Regen

370LV60	3.7Amps nie izolowany

400LV60	4 Amps nie izolowany

400ILV60	4 Amps, izolowany

E400iLV60	4 Amps, izolowany, Eurocard.

800LV60	8 Amps nie izolowany

1200LV60	12 Amps nie izolowany

1600iLV60	16 Amps, izolowany

3200i/32/LV60	32 Amps, izolowany

3200i/48/LV60	48 Amps, izolowany

3600XRi/4/LV60	4 Amps, izolowany, 4Q regen

3600XRi/8/LV60	8 Amps, izolowany, 4Q regen

3600XRi/16/LV60	16 Amps, izolowany, 4Q regen

3600XRi/32/LV60	32 Amps, izolowany, 4Q regen

3600XRi/36/LV60	36 Amps, izolowany, 4Q regen

Visit www.sprint-electric.com for further information or product technical manual for full specification.

Strona 9

PL range, Cyfrowy Trójfazowy 2Q drive with integral field weakener

PL5	5KW 12A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # PL5

Line reactor	Part # LR48

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

Main semiconductor Fuse, 3 required 6 x 32	Part # CH00612A Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for holder,6 required	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

PL10	10KW 24A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # PL10

Line reactor	Part # LR48

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for aux fuseholder,3 required	Part # FE101969

Main semiconductor Fuse, 3 required 14 x 51	Part # CH00740A Main Fuseholder, 3 required 14 x 51	Part # CP102053

Pot kit incl graduated dial & knob	Part # POTKIT

PL15	15KW 36A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # PL15

Line reactor	Part # LR48

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux fuseholder,3 required	Part # FE101969

Main semiconductor Fuse, 3 required 14 x 51	Part # CH00740A Main Fuseholder, 3 required 14 x 51	Part # CP102053

Pot kit incl graduated dial & knob	Part # POTKIT

PL20	20KW 51A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # PL20

Line reactor	Part # LR48

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux fuseholder,3 required	Part # FE101969

Main semiconductor Fuse, 3 required Size OOO	Part # CH00850A Main Fuseholder, 3 required Size OOO	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT

PL30	30KW 72A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # PL30

Line reactor	Part # LR120

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux fuseholder,3 required	Part # FE101969

Main semiconductor Fuse, 3 required Size OOO	Part # CH00880A Main Fuseholder, 3 required Size OOO	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT

Please refer to catalogue for further information or product technical manual for full specification.

Strona 10

PL40	40KW 99A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # PL40

Line reactor	Part # LR120

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux fuseholder,3 required	Part # FE101969

Main semiconductor Fuse, 3 required Size OOO	Part # CH008100

Main Fuseholder, 3 required Size OOO	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT

PL50	50KW 123A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # PL50

Line reactor	Part # LR120

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux fuseholder,3 required	Part # FE101969

Main semiconductor Fuse, 3 required Size OOO	Part # CH008125

Main Fuseholder, 3 required Size OOO	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT

PL65	65KW 155A

Controller	Part # PL65

Line reactor	Part # LR270

Main semiconductor Fuse, 3 required Size OOO	Part # CH008160

Main Fuseholder, 3 required Size OOO	Part # CP102054

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

PL85	85KW 205A

Controller	Part # PL85

Line reactor	Part # LR270

Main semiconductor Fuse, 3 required Size 1	Part # CH009250

Main 3 pole Fuseholder Size 1	Part # CP102055

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

PL115	115KW 270A

Controller	Part # PL115

Line reactor	Part # LR270

Main semiconductor Fuse, 3 required Size 1	Part # CH009250

Main 3 pole Fuseholder Size 1	Part # CP102055

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

Visit www.sprint-electric.com for further information or product technical manual for full specification.

Strona 11

PL145	145KW 330A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # PL145

Line reactor	Part # LR330

Main semiconductor Fuse, 3 required Size 3	Part # CH010550

Main 3 pole Fuseholder Size 3	Part # CP102233

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

PL185	185KW 430A

Controller	Part # PL185

50 Amp option on field output

Line reactor	Part # LR430

Main semiconductor Fuse, 3 required Size 3	Part # CH010550

Main 3 pole Fuseholder Size 3	Part # CP102233

Aux Semiconductor Fuse Size OOO, 3 required	Part # CH00850A Aux Fuseholder Size OOO, 3 required	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT

PL225	225KW 530A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # PL225

50 Amp option on field output

Line reactor	Part # LR530

Main semiconductor Fuse, 3 required Size 3	Part # CH010550

Main 3 pole Fuseholder Size 3	Part # CP102233

Aux Semiconductor Fuse Size OOO, 3 required	Part # CH00850A Aux Fuseholder Size OOO, 3 required	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT

PL265	265KW 630A

Controller	Part # PL265

50 Amp option on field output

Line reactor	Part # LR630

Main semiconductor Fuse, 3 required Size 3	Part # CH010700

Main 3 pole Fuseholder Size 3	Part # CP102233

Aux Semiconductor Fuse Size OOO, 3 required	Part # CH00850A Aux Fuseholder Size OOO, 3 required	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT

Please refer to catalogue for further information or product technical manual for full specification.

Strona 12

PLX range, Cyfrowy Trójfazowy 4Q fully ze zwrotem energii controller with

integral field weakener

PLX5	5KW 12A 4Q

Controller	Part # PLX5

Line reactor	Part # LR48

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

Main semiconductor Fuse, 3 required 6 x 32	Part # CH00612A Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for holder,6 required	Part # FE101969

Armature fuse	Part # CH00816A Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

PLX10	10KW 24A 4Q

Controller	Part # PLX10

Line reactor	Part # LR48

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux fuseholder,3 required	Part # FE101969

Main semiconductor Fuse, 3 required 14 x 51	Part # CH00740A Main Fuseholder, 3 required 14 x 51	Part # CP102053

Armature fuse	Part # CH00832A Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

PLX15	15KW 36A 4Q

Controller	Part # PLX15

Line reactor	Part # LR48

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux fuseholder,3 required	Part # FE101969

Main semiconductor Fuse, 3 required 14 x 51	Part # CH00740A Main Fuseholder, 3 required 14 x 51	Part # CP102053

Armature fuse	Part # CH00940A Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

PLX20	20KW 51A 4Q

Controller	Part # PLX20

Line reactor	Part # LR48

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux fuseholder,3 required	Part # FE101969

Main semiconductor Fuse, 3 required Size OOO	Part # CH00850A Main Fuseholder, 3 required Size OOO	Part # CP102054

Armature fuse	Part # CH00963A Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

Visit www.sprint-electric.com for further information or product technical manual for full specification.

Strona 13

PLX30	30KW 72A 4Q

Controller	Part # PLX30

Line reactor	Part # LR120

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux fuseholder,3 required	Part # FE101969

Main semiconductor Fuse, 3 required Size OOO	Part # CH00880A Main Fuseholder, 3 required Size OOO	Part # CP102054

Armature fuse	Part # CH00980A Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

PLX40	40KW 99A 4Q

Controller	Part # PLX40

Line reactor	Part # LR120

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux fuseholder,3 required	Part # FE101969

Main semiconductor Fuse, 3 required Size OOO	Part # CH008100

Main Fuseholder, 3 required Size OOO	Part # CP102054

Armature fuse	Part # CH009125

Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

PLX50	50KW 123A 4Q

Controller	Part # PLX50

Line reactor	Part # LR120

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux fuseholder,3 required	Part # FE101969

Main semiconductor Fuse, 3 required Size OOO	Part # CH008125

Main Fuseholder, 3 required Size OOO	Part # CP102054

Armature fuse	Part # CH009160

Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

PLX65	65KW 155A 4Q

Controller	Part # PLX65

Line reactor	Part # LR270

Main semiconductor Fuse, 3 required Size OOO	Part # CH008160

Main Fuseholder, 3 required Size OOO	Part # CP102054

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Armature fuse	Part # CH009200

Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

Please refer to catalogue for further information or product technical manual for full specification.

Strona 14

PLX85	85KW 205A 4Q

Controller	Part # PLX85

Line reactor	Part # LR270

Main semiconductor Fuse, 3 required Size 1	Part # CH009250

Main 3 pole Fuseholder Size 1	Part # CP102055

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Armature fuse	Part # CH009250

Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

PLX115	115KW 270A 4Q

Controller	Part # PLX115

Line reactor	Part # LR270

Main semiconductor Fuse, 3 required Size 1	Part # CH009250

Main 3 pole Fuseholder Size 1	Part # CP102055

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Armature fuse	Part # CH009315

Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

PLX145	145KW 330A 4Q

Controller	Part # PLX145

Line reactor	Part # LR330

Main semiconductor Fuse, 3 required Size 3	Part # CH010550

Main 3 pole Fuseholder Size 3	Part # CP102233

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Armature fuse	Part # CH009400

Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

PLX185	185KW 430A 4Q

Controller	Part # PLX185

50 Amp option on field output

Line reactor	Part # LR430

Main semiconductor Fuse, 3 required Size 3	Part # CH010550

Main 3 pole Fuseholder Size 3	Part # CP102233

Aux Semiconductor Fuse Size OOO, 3 required	Part # CH00850A Aux Fuseholder Size OOO, 3 required	Part # CP102054

Armature fuse	Part # CH013500

Armature fuseholder	Part # CP102949

Pot kit incl graduated dial & knob	Part # POTKIT

Visit www.sprint-electric.com for further information or product technical manual for full specification.

Strona 15

PLX225	225KW 530A 4Q

Controller	Part # PLX225

50 Amp option on field output

Line reactor	Part # LR530

Main semiconductor Fuse, 3 required Size 3	Part # CH010550

Main 3 pole Fuseholder Size 3	Part # CP102233

Aux Semiconductor Fuse Size OOO, 3 required	Part # CH00850A Aux Fuseholder Size OOO, 3 required	Part # CP102054

Armature fuse	Part # CH013550

Armature fuseholder	Part # CP102949

Pot kit incl graduated dial & knob	Part # POTKIT

PL/PLX Options & Accessories

Part #

Profibus card	Profibus card Devicenet card	Devicenet card Mounting board for Profibus/Devicenet card	LA102738

Additional Drive to PC comms cable	LA102595

Drive to drive cable FCC68/FCC68	LA102596

PLA

Part #

PLA Applications module	PLA

PLXD

Part #

PLXD stack driver	PLXD

Pulse transformer board	LA102800

SLE range, Trójfazowy 2Q Analogowy DC Controller

SLE14	14KW 34A

Controller	Part # SLE14

Line reactor	Part # LR48

Main semiconductor Fuse, 3 required 14 x 51	Part # CH00740A Main Fuseholder, 3 required 14 x 51	Part # CP102053

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00608A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux fuseholder, 3 required.	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

SLE24	24KW 58A

Controller	Part # SLE24

Line reactor	Part # LR48

Main semiconductor Fuse, 3 required Size OOO	Part # CH00880A Main Fuseholder, 3 required Size OOO	Part # CP102054

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00608A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

Please refer to catalogue for further information or product technical manual for full specification.

Strona 16

SLE34	34KW 82A

Controller	Part # SLE34

Line reactor	Part # LR120

Main semiconductor Fuse, 3 required Size OOO	Part # CH00880A Main Fuseholder, 3 required Size OOO	Part # CP102054

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00608A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

SLE44	44KW 106A

Controller	Part # SLE44

Line reactor	Part # LR120

Main semiconductor Fuse, 3 required Size OOO	Part # CH008100

Main Fuseholder, 3 required Size OOO	Part # CP102054

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00608A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

SL range, Trójfazowy analogowy 2Q drive with integral field weakener

SL5	5KW 12A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # SL5

7.5 Amp option on field output

Line reactor	Part # LR48

Main semiconductor Fuse, 3 required 6 x 32	Part # CH00612A Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for holder,3 required	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

SL10	10KW 24A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # SL10

7.5 Amp option on field output

Line reactor	Part # LR48

Main semiconductor Fuse, 3 required 14 x 51	Part # CH00740A Main Fuseholder, 3 required 14 x 51	Part # CP102053

Pot kit incl graduated dial & knob	Part # POTKIT

SL15	15KW 36A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # SL15

7.5 Amp option on field output

Line reactor	Part # LR48

Main semiconductor Fuse, 3 required 14 x 51	Part # CH00740A Main Fuseholder, 3 required 14 x 51	Part # CP102053

Pot kit incl graduated dial & knob	Part # POTKIT

SL20	20KW 48A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # SL20

7.5 Amp option on field output

Line reactor	Part # LR48

Main semiconductor Fuse, 3 required Size OOO	Part # CH00850A Main Fuseholder, 3 required Size OOO	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT

Visit www.sprint-electric.com for further information or product technical manual for full specification.

Strona 17

SL30	30KW 72A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # SL30

10 Amp option on field output

Line reactor	Part # LR120

Main semiconductor Fuse, 3 required Size OOO	Part # CH00880A Main Fuseholder, 3 required Size OOO	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT

SL40	40KW 96A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # SL40

10 Amp option on field output

Line reactor	Part # LR120

Main semiconductor Fuse, 3 required Size OOO	Part # CH008100

Main Fuseholder, 3 required Size OOO	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT

SL50	50KW 120A. This model has ze zwrotem energii stopping capability as standard

Controller	Part # SL50

10 Amp option on field output

Line reactor	Part # LR120

Main semiconductor Fuse, 3 required Size OOO	Part # CH008125

Main Fuseholder, 3 required Size OOO	Part # CP102054

Pot kit incl graduated dial & knob	Part # POTKIT

SL65	65KW 155A

Controller	Part # SL65

15 Amp option on field output

Line reactor	Part # LR270

Main semiconductor Fuse, 3 required Size OOO	Part # CH008160

Main Fuseholder, 3 required Size OOO	Part # CP102054

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

SL85	85KW 205A

Controller	Part # SL85

15 Amp option on field output

Line reactor	Part # LR270

Main semiconductor Fuse, 3 required Size 1	Part # CH009250

Main 3 pole Fuseholder Size 1	Part # CP102055

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

SL115	115KW 270A

Controller	Part # SL115

15 Amp option on field output

Line reactor	Part # LR270

Main semiconductor Fuse, 3 required Size 1	Part # CH009250

Main 3 pole Fuseholder Size 1	Part # CP102055

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Please refer to catalogue for further information or product technical manual for full specification.

Strona 18

Pot kit incl graduated dial & knob	Part # POTKIT

SL145	145KW 330A This model has ze zwrotem energii stopping capability as standard

Controller	Part # SL145

15 Amp option on field output

Line reactor	Part # LR330

Main semiconductor Fuse, 3 required Size 3	Part # CH010550

Main 3 pole Fuseholder Size 3	Part # CP102233

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Pot kit incl graduated dial & knob	Part # POTKIT

SLX range, Trójfazowy 4Q fully ze zwrotem energii analogowy controller with integral field weakener

SLX5	5KW 12 Amp 4Q

Controller	Part # SLX5

7.5 Amp option on field output

Line reactor	Part # LR48

Main semiconductor Fuse, 3 required 6 x 32	Part # CH00612A Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for holder,3 required	Part # FE101969

Armature fuse	Part # CH00816A Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

SLX10	10KW 24 Amp 4Q

Controller	Part # SLX10

7.5 Amp option on field output

Line reactor	Part # LR48

Main semiconductor Fuse, 3 required 14 x 51	Part # CH00740A Main Fuseholder, 3 required 14 x 51	Part # CP102053

Armature fuse	Part # CH00832A Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

SLX15	15KW 36 Amp 4Q

Controller	Part # SLX15

7.5 Amp option on field output

Line reactor	Part # LR48

Main semiconductor Fuse, 3 required 14 x 51	Part # CH00740A Main Fuseholder, 3 required 14 x 51	Part # CP102053

Armature fuse	Part # CH00940A Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

SLX20	20KW 48 Amp 4Q

Controller	Part # SLX20

7.5 Amp option on field output

Line reactor	Part # LR48

Main semiconductor Fuse, 3 required Size OOO	Part # CH00850A Main Fuseholder, 3 required Size OOO	Part # CP102054

Armature fuse	Part # CH00963A Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

Visit www.sprint-electric.com for further information or product technical manual for full specification.

Strona 19

SLX30	30KW 72 Amp 4Q

Controller	Part # SLX30

10 Amp option on field output

Line reactor	Part # LR120

Main semiconductor Fuse, 3 required Size OOO	Part # CH00880A Main Fuseholder, 3 required Size OOO	Part # CP102054

Armature fuse	Part # CH00980A Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

SLX40	40KW 96 Amp 4Q

Controller	Part # SLX40

10 Amp option on field output

Line reactor	Part # LR120

Main semiconductor Fuse, 3 required Size OOO	Part # CH008100

Main Fuseholder, 3 required Size OOO	Part # CP102054

Armature fuse	Part # CH009125

Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

SLX50	50KW 120 Amp 4Q

Controller	Part # SLX50

10 Amp option on field output

Line reactor	Part # LR120

Main semiconductor Fuse, 3 required Size OOO	Part # CH008125

Main Fuseholder, 3 required Size OOO	Part # CP102054

Armature fuse	Part # CH009160

Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

SLX65	65KW 155 Amp 4Q

Controller	Part # SLX65

15 Amp option on field output

Line reactor	Part # LR270

Main semiconductor Fuse, 3 required Size OOO	Part # CH008160

Main Fuseholder, 3 required Size OOO	Part # CP102054

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Armature fuse	Part # CH009200

Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

SLX85	85KW 205 Amp 4Q

Controller	Part # SLX85

15 Amp option on field output

Line reactor	Part # LR270

Main semiconductor Fuse, 3 required Size 1	Part # CH009250

Main 3 pole Fuseholder Size 1	Part # CP102055

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Armature fuse	Part # CH009250

Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

Please refer to catalogue for further information or product technical manual for full specification.

Strona 20

SLX115	115KW 270 Amp 4Q

Controller	Part # SLX115

15 Amp option on field output

Line reactor	Part # LR270

Main semiconductor Fuse, 3 required Size 1	Part # CH009250

Main 3 pole Fuseholder Size 1	Part # CP102055

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Armature fuse	Part # CH009315

Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

SLX145	145KW 330 Amp 4Q

Controller	Part # SLX145

15 Amp option on field output

Line reactor	Part # LR330

Main semiconductor Fuse, 3 required Size 3	Part # CH010550

Main 3 pole Fuseholder Size 3	Part # CP102233

Aux semiconductor Fuse, 3 required 6 x 32	Part # CH00620A Aux Fuseholder, 3 required 6 x 32	Part # CP102071

DIN Rail Clip for Aux- fuseholder, 3 required.	Part # FE101969

Armature fuse	Part # CH009400

Armature fuseholder	Part # CP102906

Pot kit incl graduated dial & knob	Part # POTKIT

Niskonapięciowy controller. Servo performance, DC supply

200XLV	2 Amp 48v

Controller	Part # 200XLV

Pot kit incl graduated dial & knob	Part # POTKIT

Note.

Also available are niskonapięciowy versions of all jedno fazowy models. Suitable for 30/60V ac input voltages, these regulator are ideal for motors with armature voltages of 24/48v d.c. Refer to Strona 8 for further details.

Visit www.sprint-electric.com for further information or product technical manual for full specification.

Strona 21

Drive Enclosures

0.37Kw 3 Amp	Part # 300E

0.55Kw 4 Amp	Part # 400E

1.1Kw 8Amp	Part # 800E

1.8Kw 12 Amp	Part # 1200E

0.55Kw 4 Amp - Reversing	Part # 400ER

1.1Kw 8Amp - Reversing	Part # 800ER

1.8Kw 12 Amp - Reversing	Part # 1200ER

2.2Kw 16Amp 1600i enclosure	Part # SE1600i

2.2Kw 8Amp 3200i/8 enclosure	Part # SE3200i/8

4.0Kw 16Amp 3200i/16 enclosure	Part # SE3200i/16

7.5Kw 32Amp 3200i/32 enclosure	Part # SE3200i/32

11Kw 48Amp 3200i/48 enclosure	Part # SE3200i/48

0.55Kw 4Amp 3600XRi/4 enclosure 4Q	Part # SE3600XRi/4

1.1Kw 8Amp 3600XRi/8 enclosure 4Q	Part # SE3600XRi/8

4.0Kw 16Amp 3600XRi/16 enclosure 4Q	Part # SE3600XRi/16

7.5Kw 32Amp 3600XRi32 enclosure 4Q	Part # SE3600XRi/32

Cyfrowy Panel Meters

3.5 digit	Part # DPM35S

4.5 digit	Part # DPM35SD

3.5 digit frequency meter	Part # DPM35F

Ancillary Products

Buffer card	Part # BUFFER Reversing unit	Part # REVUNIT Winder Card	Part # WINDER Frequency to Voltage converter	Part # F2V

Setpoint potentiometer with graduated scale and knob.

Part # POTKIT

DB Assembly	Dynamic Braking Assembly

Panel mounting IP20 enclosure for up to 9

resistors	LA102182

Resistor 43 1KW	CX102183

Please refer to catalogue for further information or product technical manual for full specification.

Sprint Electric Limited

Rudford Industrial Estate

Ford

Arundel

West Sussex BN18 0BD United Kingdom

Tel (01903) 730000

Fax (01903) 730893

Email: info@sprint-electric.com

Web site: www.sprint-electric.com